Reviewer 3 responses
Thank you for the comments, the edits are highlighted in green.
 Page 3: (a) Fig. 2 and line 89: f/20 optics or f/5 optics used? (b) Lines 88 to 95: Sentences repeated? 
 Please see addition of word “attenuated” in Figure 2 caption, and in lines 94 and 95 use of the word “expanded.” Also, edited the apparent repetition.
 Page 4, Fig. 4: Which of the spectra is measured and fitted? Uncertainty of temperature (ΔT)? 
Please see redrawn Figure 4 with extra text in the caption. Also, a comment with Refs. is included above Fig. 4 regarding ΔT.
 Page 4, line 139: What is meant with “to give-or-take”? 
Give-or-take means approximately; however, now I state the exact time delay in line 147+ 
 Page 5, Fig. 5: What is “Double images”? All sub-figures (a), (b), (c) are taken under the same experimental parameters? 
I include “exposure” to read ‘Double exposure images…’ and include “that shows intensity variations and” in Figures 5 to 7.
 Page 9, Fig. 11: (a) Axes labels are hard to read (increase font size). (b) “data of vertical average vs. wavelength” is not clear? 
Redrew figures for clearer labels than previously presented. Use “spectra average” now.
 Pages 9 and 10, Figs. 12 and 13: Axes labels are hard to read (increase font size). 
Increased font sizes for Figs. 11, 12, 13, and 17.
 Page 10, line 205 and page 11, Fig. 15: The temperature error bars indicate a range of ±8 percent or ±1.5 percent? 
Clarified the discrepancy, please see lines 223 to 227,  and lines 241 to 248.
 Few typos. 
Edited some typographical errors.
 References: Some reference to inverse Radon transform in LIBS could be included (e.g. Gornushkin, Panne et al https://doi.org/10.1016/j.sab.2016.07.007).
Included three references, see new Refs. 30 to 32.

Respectfully,

