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Dear Reviewers,
Thank you very much Dear Reviewers for all valuable comments to improve our manuscript. I have revised our manuscript as per Reviewer’s comments. In addition, the revised words are highlighted in yellow colour in the manuscript for your convenience.
I shall be pleased for your rapid handling of this revised manuscript and it will be greatly appreciated.

Thank you and best regards.
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A. Reply to the Reviewer 
	No
	Original comments of the Reviewer
	Reply by the author(s)
	Changes done on page number and line number

	1
	Table 1 - leukemia is mis spelled
	We have revised it.  
	Page 3

	2
	Table 2 - title should say three concentration levels (instead of level) along with other minor typographical errors
	We have revised it.  
	Line 154, page 4

	3
	The final paragraph of the discussion section does not quite make sense
	We have revised it.  
	Line 279 to 280, line 288 to 296 and line 302, page 7

	4
	In the discussion section - a portion of the results related to CVs on each analyzer type are reported (second paragraph). Rather than including these results in this discussion section,  a summary in this section with would be sufficient  - with the actual CV values reported in the results section instead (a section in results on the 10 analyzer comparison with a table or list of CVs achieved could replace a portion of this discussion)
	This result we moved to table 3: Result CV% of 3 concentration levels after analyzing on 3 hematology analyzer.


	Line 157 to 166, page 4


