Technologies regarding radioisotope tracing in saline and further in the physiological sample has a great potential not only in the nuclear industry but also in terms of environment and health too. Authors need to commended for pursuing research in such direction and providing an interesting article. Authors claim BDD has a great potential to use as a microelectrode in such tracing. Authors mentioned in the review response that “Also there are some limit values for current density to generate hydroxide layer.” I think they should include that sentence in the main text for clarity regarding choosing such specific current densities in the context of a range of current density. It will be great if they also mention (in a couple of sentences) how does it affect electro-precipitation of actinides or any other materials in the context of boron doped diamond with proper siting articles.

Response: There are some minimum values for current density to generate a hydroxide layer for precipitation as actinide hydroxide compounds [see ref. 1]. Our previous study demonstrated that the current density should be above 3 mA.cm-2 and 1 mA.cm-2 for NaNO3 pH 3 and Na2SO4 pH 4 electrolytes respectively [see ref. 2]. This content was mentioned in the manuscript.

- V. Tsoupko-Sitnikov, F. Dayras, J. de Sanoit, and D. Filossofov, “Ap- plication of rotating disk electrode technique for the preparation ofNp, Pu and Am -sources,” J. Appl. Radiat. Isot., vol. 52, pp. 357–364, Mar. 2000.

- Tran, Q.T.; Pomorski, M.; de Sanoit, J.; Scorsone, E.; Bergonzo, P. Optimization of Actinides Trace Precipitation on Diamond/Si PIN Sensor for Alpha-Spectrometry in Aqueous Solution, Trans. Nucl. Sci. 2014, 61(4), 2082–2089.

Line 89: Add a comma before and.

Response: noted and updated.

Line 113: “a broad range of applications.” Site some relevant articles which mention a broad range of application if possible.

Response: some relevant articles were performed by our groups. Therefore, its were cited in the manuscript.

- Scorsone, E., Belghiti, D., Habchi, M., & Bergonzo, P. (2017). Boron doped diamond/metal nanocatalyst hybrid electrode arrays for analytical applications.  ISOEN 2017 - ISOCS/IEEE International Symposium on Olfaction and Electronic Nose, Proceedings. doi:10.1109/ISOEN.2017.7968907

- Belghiti, D. K., Zadeh-Habchi, M., Scorsone, E., & Bergonzo, P. (2016). Boron Doped Diamond/Metal Nanoparticle Catalysts Hybrid Electrode Array for the Detection of Pesticides in Tap Water.  Procedia Engineering, 168, 428-431. doi:10.1016/j.proeng.2016.11.536

- Hébert, C., Cottance, M., Degardin, J., Scorsone, E., Rousseau, L., Lissorgues, G., . . . Picaud, S. (2016). Monitoring the evolution of boron doped porous diamond electrode on flexible retinal implant by OCT and in vivo impedance spectroscopy. Materials Science and Engineering C, 69, 77-84. doi:10.1016/j.msec.2016.06.032

- Belghiti, D. K., Scorsone, E., de Sanoit, J., & Bergonzo, P. (2016). Simultaneous detection of indole and 3-methylindole using boron-doped diamond electrodes. Physica Status Solidi (A) Applications and Materials Science, 213 (10), 2662-2671. doi:10.1002/pssa.201600187

- Piret, G., Hébert, C., Mazellier, J. P., Rousseau, L., Scorsone, E., Cottance, M., . . . Yvert, B. (2015). 3D-nanostructured boron-doped diamond for microelectrode array neural interfacing. Biomaterials, 53, 173-183. doi:10.1016/j.biomaterials.2015.02.021

- Tran, Q. T., De Sanoit, J., Pierre, S., Arnault, J. C., & Bergonzo, P. (2014). Diamond electrodes for trace alpha pollutant sequestration via covalent grafting of nitrilotriacetic acid (NTA) ligand. Electrochimica Acta, 136, 430-434. doi:10.1016/j.electacta.2014.05.087

- de Sanoit, J., Vanhove, E., Mailley, P., & Bergonzo, P. (2009). Electrochemical diamond sensors for TNT detection in water. Electrochimica Acta, 54 (24), 5688-5693. doi:10.1016/j.electacta.2009.05.013

Line114: “Bare BDD electrodes are used, i.e., with no particular surface functionalization, as promoted by the ability to clean the surface in complex media.” Support this claim, site relevant articles.

Response: some relevant articles were cited in the manuscript.

- R. Kiran, J. de Sanoit and E. Scorsone, Patent application no: 11 51341, (2011).

- Kiran, R., Scorsone, E., De Sanoit, J., Arnault, J. C., Mailley, P., & Bergonzo, P. (2013). Boron doped diamond electrodes for direct measurement in biological fluids: An in situ regeneration approach. Journal of the Electrochemical Society, 160 (1). doi:10.1149/2.014302jes

- Kiran, R., Scorsone, E., Mailley, P., & Bergonzo, P. (2012). Quasi-real time quantification of uric acid in urine using boron doped diamond microelectrode with in situ cleaning. Analytical Chemistry, 84 (23), 10207-10213. doi:10.1021/ac301177z

Line 133: Change “increasing” to “increase.”

Response: noted and updated.

Line 268: “a valuable behavior for practical application in the nuclear industry using highly acidic solutions.” Site some relevant articles to support this claim.

Response: some relevant articles were cited in the manuscript.

- Bergonzo, P., Foulon, F., Brambilla, A., Tromson, D., Jany, C., & Haan, S. (2000). Corrosion hard CVD diamond alpha particle detectors for nuclear liquid source monitoring.  Diamond and Related Materials, 9 (3-6), 1003-1007. doi:10.1016/S0925-9635(99)00257-5

- Mer, C., Tromson, D., De Sanoit, J., Pomorski, M., & Bergonzo, P. (2009). Diamond detectors for alpha monitoring in corrosive media for nuclear waste activity monitoring.  ANIMMA 2009 - 2009 1st International Conference on Advancements in Nuclear Instrumentation, Measurement Methods and their Applications. doi:10.1109/ANIMMA.2009.5503796